# CHECK SHEET FOR TEST OF

# PRIVATE FIRE HYDRANTS

As required in NFPA 25 referenced by the Oregon Fire Code and Amended by Portland Title 31 as adopted by the City of Portland.

TEST DATE:

BUSINESS NAME:

BUILDING NAME:

BUILDING ADDRESS:

CONTACT: 	PHONE:

NUMBER OF FIRE HYDRANTS ON THIS SYSTEM: 		(If more than 3, use additional forms)

|  | # 1 | # 2 | # 3 |
| --- | --- | --- | --- |
| Location of Hydrant? |  |  |  |
| Access unobstructed ? Faced correctly? Set properly? | YES NO YES NO YES NO | YES NO YES NO YES NO | YES NO YES NO YES NO |
| Location of residual pressure gauge |  |  |  |
| Static pressure |  |  |  |
| Residual pressure |  |  |  |
| Sizes of outlets flowed |  |  |  |
| Number of outlets flowed |  |  |  |
| Pitot reading |  |  |  |
| GPM flowed |  |  |  |
| Threads in good repair? Lubricated? Caps replaced? | YES NO YES NO YES NO | YES NO YES NO YES NO | YES NO YES NO YES NO |
| Leakage in base, dome or sleeve when under pressure? | YES NO | YES NO | YES NO |
| Hydrant operates properly? Operating nut lubricated? | YES NO YES NO | YES NO YES NO | YES NO YES NO |
| Hydrant drains properly after test? | YES NO | YES NO | YES NO |

CHECK SHEET FOR TEST OF

# PRIVATE FIRE HYDRANTS

REQUIRED CORRECTIONS AND EXPLANATION OF PROBLEMS:

1.

2.

3.

4.

5.

6.

CORRECTIONS MADE:

1.

2.

3.

4.

5.

6.

Has the building owner / representative been notified of any deficiencies?	YES       NO

If YES, who was notified?

If NO, why wasn’t the owner / representative notified?

Certified Personnel Conducting Test (PLEASE PRINT NAME)

Certification # 	 			Signature:

Name of Company: 									    Phone:

### QUESTIONS?   CALL 503-823-3712

# Text boxes

| FOR FIRE BUREAU USE ONLY |
| --- |
| DATE RECEIVED |  |
| COMPLEX # |  |
| BUILDING # |  |
| BUSINESS # |  |
| LOCATION # |  |
| BILL TO: # |  |
| PHYS. FAC. # |  |
| APPEAL # |  |
| DATE ENTERED |  |